## 01
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 02
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 03
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 04
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 05
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 06
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 07
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 08
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 09
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 10
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 11
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 12
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 13
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 14
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 15
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 16
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 17
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 18
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 19
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 20
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 21
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 22
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 23
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 24
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 25
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 26
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 27
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 28
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 29
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 30
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 31
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 32
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 33
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 34
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 35
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 36
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 37
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 38
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 39
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling

## 40
Number | Day | Time | Battery ID | Qty_Batt | Unit Voltage | Unit Current | Unit SOC | Charge Relay Status | Discharge Relay Status | Pre-charge Relay Status | System Average Voltage | System Unit Quantity | Battery Parallel Status | Insulation resistance | Pre_Volt(V） | Max Cell Volt(mV) | Max Cell Volt Num | Min Cell Volt(mV) | Min Cell Volt Num | Max Temp(℃) | Max Temp Num | Min Temp(℃) | Min Temp Num | Software Version | Hardware Version | Alarm Level | Cycle Counts | Balance Volt(V) | Discharge Energy(kWH) | UPS Manufacturer | Unit Voltage Low | Unit Voltage High | Cell voltage low | Cell voltage High | Unit temperature High | Unit temperature Low | Discharge Over Current | Charge Over Current | SOC Low | Communication Error | Insulation resistance error | Delta Cell Voltage High | Delta Temperature Sensor High | Short Circuit Error | Charge Voltage High | Pre-Charge Failed | Cell1 | Cell2 | Cell3 | Cell4 | Cell5 | Cell6 | Cell7 | Cell8 | Cell9 | Cell10 | Cell11 | Cell12 | Cell13 | Cell14 | Cell15 | Cell16 | Cell17 | Cell18 | Cell19 | Cell20 | Cell21 | Cell22 | Temperature(℃) #1 | Temperature(℃) #2 | Temperature(℃) #3 | Temperature(℃) #4 | Temperature(℃) #5 | Temperature(℃) #6 | Temperature(℃) #7 | Temperature(℃) #8 | Accumulative Total(Hour)-20-0℃ | Accumulative Total(Hour)0-5℃ | Accumulative Total(Hour)5-10℃ | Accumulative Total(Hour)10-15℃ | Accumulative Total(Hour)35-45℃ | Accumulative Total(Hour)45-55℃ | Accumulative Total(Hour)55-60℃ | Charge>60A | Discharge>60A | Discharge Protect | Charge Protect | Starting Up | Unit Voltage>55V | Unit Voltage<51V | Voltage Sampling | Current Sampling | Temperature Sampling | Balance | Sampling